|  | Questionnaire for application of gas-turbine power generating units EG-1000, PAES-2500, EG-6000 |
| --- | --- |
| 1 | Required rated electric power, kW |  |
|  | (at which Tamb,°C) |  |
| 2 | Rated line voltage, V |  |
| 3 | Rated AC frequency, Hz |  |
| 4 | Rated power factor (cos φ) |  |
| 5 | Fuel : - type (gaseous/liquid) - pressure (for gaseous fuel) - composition and characteristics |  |
| 6 | Type of neutral wire connection (dead-earthed or insulated) |  |
| 7 | Type and graph (annual, daily) of electric load |  |
| 8 | Operating conditions: |  |
|  | - independent (for isolated load) |  |
|  | - in parallel with one-type power generating units or other power generating units of similar control system characteristics |  |
|  | - in parallel with power network of high power capacity |  |
| 9 | Climatic factors: |  |
|  | - maximum outside air temperature, °С |  |
|  | - minimum outside air temperature, °С |  |
|  | - limit outside air relative humidity, % |  |
|  | - altitude above sea level, m |  |
|  | - presence of salt fog, current-conducting dust, chemically active vapours and gases |  |
|  | - inert dust concentration in ambient air, g/m3 |  |
|  | - solar radiation level with expected integrated density of heat flow (upper value),W/m2 |  |
|  | - maximum air speed, m/s |  |
| 10 | Place of installation: |  |
|  | - indoors |  |
|  | - out-of-doors |  |
|  | - in industrial zone |  |
|  | - in residential zone |  |
| 11 | Necessity of co-generation cycle |  |
|  | - type of required heat load: ▪ steam ▪ hot water |  |
|  | - graph (annual, daily) of heat load |  |

|  | - required parameters of heat energy if waste-heat boiler is used (aerodynamic resistance, 1200 Pa): a) hot-water boiler: • heating capacity, Gcal/h • system water flow rate, t/h • system water inlet temperature, °С • system water outlet temperature, °С • water pressure, bar abs. • hydraulic resistance, bar b) steam boiler: • steam purpose and utilization diagram • steam capacity, t/h • steam pressure, MPa • steam temperature, °С |  |
| --- | --- | --- |
| 12 | Necessity of combined cycle • rated electric power, kW • rated line voltage, V • rated AC frequency, Hz • rated power factor (cos φ) • type of neutral wire connection (dead-earthed or insulated) • with additional fuel burning or without additional fuel burning • condensing turbine • turbine with steam extraction for power-and-heat supply • turbine with steam extraction for industrial needs • back-pressure turbine |  |

Chief design engineer- - Head of UEUiGPA

V. I. Morozov